## Sheet1
Contact Information: | Other Info |  |  |  | Load Cell
|  | Location |  |  | CTL ID | P3500 |  |  |  |  | Tensioning |  |  | LVDT |  |  |  | Temp Sensor |  |  | FOS Sensor Sleeve |  |  |  |  | NOTES
|  | Cable ID | Strand | Chair Side |  | Gage Factor | Balance | Shunt Value | Cal Factor | Shunt Load | DaqCal | Load Cell | WDAQ | UM ID | Calibration Factor |  | WDAQ | UM ID | Cal Factor | WDAQ | UM ID | Serial # | Gage Factor | Offset | DMI DAQ
[15 empty] | Monitoring | Tensioning
|  | Stay-Side | # |  | # |  |  | me | lb/me | lbs |  | lbs. | Node/Chn | # | in/V | in/V | Node/Chn | # | °F/V | Node/Chn | sleeve - sensor | # |  | me | Chan #
|  | 17A-Left | 72 | L1 | 8 | 1.993 | 4.02 | 584 | 12.65 | 7387.6 | 31625 | 20760 | 43641/1 | 9 | 0.0050052 | 0.010546 | 43641/5 | 13 | 98.86 | 43641/7 | 7-11 | -- | -- | -- | --
[21 empty] | 7-2 | SF07634 | 1001041 | 9730 | 1 | LVDT 9 and 10 swapped after tensioning?
|  | 17A-Right | 66 | L2 | 13 | 2 | 4.17 | 583 | 12.604 | 7348.1 | 31510 | 20950 | 43641/2 | 10 | 0.0050378 | 0.01071 | 43641/6 | 10 | 99.4264 | -- | 5-1 | SF07637 | 1001059 | 10728 | 2
[21 empty] | 5-2 | SF07638 | 1001051 | 10224 | 3
|  | 10A-Left | 63 | L2 | 10 | 2 | 9.07 | 584 | 12.55 | 7329.2 | 31375 | 20080 | 43644/1 | 6 | 0.0049944 | 0.010538 | 43644/5 | 6 | 98.9604 | 43644/7 | 4-11 | SF07630 | 1001041 | 0 | 4
[21 empty] | 4-2 | SF07642 | 1001076 | 10074 | 5
|  | 10A-Right | 69 | L1 | 3 | 1.992 | 2.91 (-2k) | 583 | 12.509 | 7292.7 | 31272.5 | 19980 | 43644/2 | 5 | 0.004784 | 0.01018 | 43644/6 | 5 | 99.1574 | -- | 1-1 | SF07646 | 1001031 | 9743 | 6
[21 empty] | 1-2 | SF07647 | 1001019 | 10437 | 7
|  | 2A-Left | 59 | L2 | 5 | 2 | 8.05 | 584 | 12.596 | 7356.1 | 31490 | 26060 | 43642/1 | 2 | 0.0050856 | 0.010762 | 43642/5 | 2 | 98.1985 | 43642/8 | 2-1 | SF07644 | 1001056 | 10641 | 8
[21 empty] | 2-2 | SF07643 | 1001096 | 10517 | 9 | FOS lead was cut, no longer functions
|  | 2A-Right | 47 | L1 | 7 | 2 | 3.77 | 583 | 12.517 | 7297.4 | 31292.5 | 25770 | 43642/2 | 1 | 0.004924 | 0.010437 | 43642/6 | 1 | 97.9121 | -- | 3-11 | SF07639 | 1001061 | 0 | 10
[21 empty] | 3-2 | SF07640 | 1001075 | 10202 | 11
|  | 2B-Left | 47 | L1 | 9 | 2 | 4.34 | 584 | 12.627 | 7374.2 | 31567.5 | 22490 | 45616/1 | 3 | 0.0049935 | 0.0050015 | 45616/5 | 3 | 99.2193 | 45616/7 | 6-1 | SF07653 | 1001079 | 11090 | 12
[21 empty] | 6-2 | SF07654 | 1001085 | 11028 | 13
|  | 2B-Right | 59 | L2 | 6 | 2 | 6.52 | 584 | 12.602 | 7359.6 | 31505 | 22460 | 45616/2 | 4 | 0.0050478 | 0.0050273 | 45616/6 | 4 | 99.4037 | -- | N/A | -- | -- | -- | --
[21 empty] | N/A | -- | -- | -- | --
|  | 10B-Left | 69 | L1 | 1 | 1.998 | 6.44 | 584 | 12.582 | 7347.9 | 31455 | 20970 | 43643/1 | 7 | 0.0049991 | 0.0050181 | 43643/5 | 7 | 99.3905 | 43643/7 | 8-1 | SF07627 | 1001038 | 9848 | 14
[21 empty] | 8-22 | SF07628 | 1001042 | 16329 | 15
|  | 10B-Right | 63 | L2 | 2 | 2 | 1.92 | 583 | 12.517 | 7297.4 | 31292.5 | 21050 | 43643/2 | 8 | 0.0049891 | 0.0049811 | 43643/6 | 8 | 99.4396 | -- | 10-1 | SF07665 | 1001079 | 11074 | 16
[21 empty] | 10-2 | SF07648 | 1001033 | 10417 | 17
|  | 17B-Left | 66 | L1 | 12 | 1.996 | 1.54 (-2k) | 583 | 12.601 | 7346.4 | 31502.5 | 20250 | 45617/1 | 11 | 0.0050051 | 0.0050124 | 45617/5 | 11 | 99.2403 | 45617/7 | 9-12 | SF07636 | 1001040 | 15829 | 18
[21 empty] | 9-2 | SF07645 | 1001059 | 10208 | 19
|  | 17B-Right | 72 | L2 | 11 | 2.002 | 3.58 | 584 | 12.681 | 7405.7 | 31702.5 | 20810 | 45617/2 | 12 | 0.0050285 | 0.0050337 | 45617/6 | 12 | 98.9193 | -- | 12-12 | SF07659 | 1001047 | 15328 | 20
[21 empty] | 12-2 | SF07658 | 1001080 | 10512 | 21
NOTE: When facing the front of the chair, L1 is on the left and L2 is on the right. (The side of the chair with the LVDT's on it is the front.)